## Sheet1
Ordinary Linear Calibration Method
Conc. (ppm) | Abs
| I | II | III | Average Formula | Average
1 | 0.119 | 0.123 | 0.128 | =AVERAGE(C6:E6) | 0.12333
2 | 0.285 | 0.286 | 0.286 | =AVERAGE(C7:E7) | 0.28567
3 | 0.437 | 0.437 | 0.437 | =AVERAGE(C8:E8) | 0.437
5 | 0.729 | 0.732 | 0.729 | =AVERAGE(C9:E9) | 0.73
8 | 1.072 | 1.071 | 1.068 | =AVERAGE(C10:E10) | 1.0703
Diluted Penny Solution | 0.493 | 0.492 | 0.49 | =AVERAGE(C11:E11) | 0.49167
Weight of copper coin | 2.4815 | g
Slope of linear regression |  |  |  |  | 0.1351
Intercept of linear regression |  |  |  |  | 0.0157
Concentration of Cu2+ in Diluted Penny Solution |  |  |  | =(G11-G16)/G15 | 3.5231 | ppm
Volume of diluted solution |  |  |  |  | 100 | mL
Mass of copper in diluted solution |  |  |  | =G15*G17/1000 | 0.35231 | mg
Volume of original penny solution used in dilution |  |  |  |  | 1 | mL
Volume of original penny solution |  |  |  |  | 100 | mL
Mass of copper in original solution |  |  |  | =G20/(G21/G22) | 35.2307 | mg
Percentage of copper in penny |  |  |  | =G23/1000/C13 | 1.42%
Standard Addition Method
Abs
Conc. (ppm) | I | II | III | Average Formula | Average
0 | 0.405 | 0.408 | 0.408 | =AVERAGE(C20:E20) | 0.407
2 | 0.671 | 0.672 | 0.672 | =AVERAGE(C21:E21) | 0.67167
4 | 0.904 | 0.901 | 0.899 | =AVERAGE(C22:E22) | 0.90133
6 | 1.101 | 1.107 | 1.102 | =AVERAGE(C23:E23) | 1.1033
Slope of linear regression |  |  |  |  | 0.1159
Intercept of linear regression |  |  |  |  | 0.423
Concentration of Cu2+ in Diluted Penny Solution |  |  |  | = -Cx = x(0)= -G35/G34
|  |  |  | =G35/G34 | 3.6497 | ppm
Volume of diluted solution |  |  |  |  | 100 | mL
Mass of copper in diluted solution |  |  |  | =G38*G40/1000 | 0.36497 | mg
Volume of original penny solution used in dilution |  |  |  |  | 1 | mL
Volume of original penny solution |  |  |  |  | 100 | mL
Mass of copper in original solution |  |  |  | =G41/(G42/G43) | 36.497 | mg
Percentage of copper in penny |  |  |  | =G44/1000/C13 | 1.471%